Temperature and Humidity Reader 

	The  DHT temperature and humidity sensor module was electrically interface with the ESP32 micro-controller using wire communion protocol. The sensosr was powered by the ESP32 3.3v and the GND of the microcontroller. The DATA pin was connected to the GPIO pin 4 of the MCU.
	Then  the code was unloaded and. But the code had some challenge be of the “# include” pre-processor  Library. That is with two separate code was made with two different library used  because of MCU difference and functionality 

for Reading Accuracy to be achieved  sufficient delay of 2ms and 2.5ms (Uno MCU, and ESP32 MCU) was implemented.